Structural Modifications Checklist

| Field Inspections: | PM | Superintendent | Sr. PM |
| --- | --- | --- | --- |
| - Verify/confirm that existing structural systems & masonry walls are per the structural plans. |  |  |  |
| - Inspect structural masonry systems to document frequency and location of vertical poured cells, concrete tie beams, concrete columns, horizontal masonry bond beams, etc. |  |  |  |
| - Inspect/verify that there are no vertical control joints or expansion joints that eliminate the horizontal continuity of the existing beam systems and/or walls. |  |  |  |
| - Inspect all existing weld plates and welded connections for proper welding. |  |  |  |
| Shop Drawings/ Preconstruction Tasks: |  |  |  |
| - Compare the designed structural systems with previous successful Project designs. Are the structural components size, fastening & connections similar to historical projects? |  |  |  |
| - Evaluate /discuss shoring & bracing requirements with the Senior Project Manager and determine if Engineered shoring plans are required. |  |  |  |
| - Develop a written means and methods plan which includes written steps that are to be followed regarding-shoring/bracing systems; demolition approach and equipment to be used; new structural components installation in conjunction with the timing for the removal of existing walls and existing structural components. Have the Senior Project Manager sign-off on this written means and methods plan. |  |  |  |
| - Determine with the Senior Project Manager if the engineered structural shoring plans and/or written means and methods plans need to be sent to the Structural Engineer of record for their review. |  |  |  |
| Demolition/Construction Phase: |  |  |  |
| - Notify the Senior Project Manager immediately if there are any field problems. Get prior approval from the Senior P.M. before deviating from the written means and methods plans. |  |  |  |
| - Obtain all specified structural inspections and testing. |  |  |  |
| Post – Construction: |  |  |  |
| - Inspect remodeled structure for any unusual cracking, deflection and/or settlement. |  |  |  |

___________________	_________	_______________  _________	    _______________________    __________

Project Superintendent	     Date		Project Manager          Date	     Senior Project Management           Date

H: MASTER FORMS/MES FORMS/ Structural Modifications Checklist 1-2013/pa